## Slide 1
Presented By: Nadav Reubens
Ron Sisso
Supervised by:
Dr. Dan Lemberg
Mrs. Elena Kramer
PulseVision
Video Based Heart Rate Measurement Using Variable Lighting

## Slide 2: Table of content

## Slide 3: introduction
needs
ways of measures
existing problem
our solution
desired outcome

## Slide 4: Research
Reading and Understanding previous Project
Reading papers regarding vital sign extraction
Understanding relevant medical background
Researching suggested methods
Gathering information about tools to implement the solution

## Slide 5: Solution pipeline

## Slide 6: Solution pipeline

## Slide 7: CLAHE & Color Normalization
Enhances Pulse Visibility: CLAHE improves local contrast, making subtle skin color changes due to blood flow more detectable.
Reduces Noise Over-Amplification: Limits contrast enhancement to prevent flickering light from distorting the signal.
Stabilizes Skin Tone Variations: Color normalization adjusts for fluctuating lighting conditions, ensuring consistent pulse extraction.
Optimizes Signal Processing: Converts RGB to YCrCb/LAB and focuses on the green channel for reliable heart rate detection.

## Slide 8: Notch Filtering
Removes Flickering Light Noise: Eliminates 50/60Hz interference caused by artificial lighting.
Preserves Heart Rate Signal: Filters out only specific noise frequencies without affecting pulse information.
Enhances Accuracy: Prevents false peaks in the frequency domain, improving heart rate estimation.
Works in Real-Time: Efficient filtering method ensures smooth and continuous heart rate tracking.

## Slide 9: Solution Comparison

## Slide 10: Precision Goals
Minimize Mean Absolute Error (MAE) to less than 2-5 BPM.
Reduce noise interference from ambient lighting and motion artifacts.
Ensure stable and accurate readings under varying skin tones and conditions.
Optimize processing for real-time heart rate detection.
Validate results across diverse test subjects and conditions.
Enhancing Heart Rate Accuracy

## Slide 11: GUI

## Slide 15
Heartrate Monitoring Screen

## Slide 16: Verification

## Slide 17: Verification

## Slide 18: Medical Challenges
Understanding Heart Physiology –familiarize ourselves with cardiovascular anatomy and physiology to accurately interpret heart rate and circulation.
Mastering Photoplethysmography – Grasping how blood flow and hemoglobin impact heart rate measurements is a key to ensuring accuracy.
Medical Research Challenges – Without a clinical background, navigating medical terminology and assessing reliable sources proved to be a challenge.

## Slide 19: Implementation Challenges
Image Processing Knowledge Gap –bridge our understanding of image processing to apply the right techniques for accurate heart rate extraction from video.
Optimizing Signal Quality – Finding the best image processing methods is crucial to enhancing signal clarity while keeping noise and artifacts to a minimum.
Balancing Speed and Accuracy – Ensuring real-time heart rate measurement required optimizing performance without compromising accuracy or overloading computational resources.

## Slide 20: Thank You For Listening!